## DATA
DATE | FLIGHT | O3SONDE | Interface | MIN | BOX | BOX | BOX TEMP © | MAX | MIN | O3 from | Launch | COMMENT
|  | SER No |  | AIR | TEMP C | TEMP C | MAX-MIN | HT | P | Flight | Time
[5 empty] | MAX | MIN |  | kM | mB
2001-04-30 | 405 | 6a7442 |  | -55 | 26 | 18 | 8 | 23.2 | 33.5 |  | 11 | OK. Early Burst
2002-12-02 | 406 | 6a12008 |  | -79 | 30 | 8 | 22 | 33.8 | 4.6 |  | 11 | MATCH OK. Ozone tails off to zero at top of ascent but not changed as temp information may be useful
2002-12-06 | 407 | 6a12009 |  | -78 | 28 | 14 | 14 | 26.2 | 17.4 |  | 9 | MATCH OK. RH in error during ascent, far too high. Background currents don't agree between system and DVM
2002-12-10 | 408 | Z02404 |  | -83 | 23 | 3 | 20 | 35.4 | 3.7 |  | 11 | OK. Truncated at 34954 metres
2002-12-14 | 409 | 6a12010 |  | -79 | 30 | 8 | 22 | 32.5 | 5.7 |  | 11 | MATCH. OK
2002-12-16 | 410 | 6a12011 |  | -82 | 26 | 4 | 22 | 29.1 | 9.9 |  | 16 | MATCH. OK
2002-12-22 | 411 | 6a12012 |  | -77 | 24 | 11 | 13 | 18.8 | 57.7 |  | 17 | OK. MATCH. Early burst
2003-01-05 |  | 6A12013 |  | -80 | 23 | 3 | 20 | 25.2 | 3.1 |  | 16 | MATCH. OK
2003-01-08 |  | 6A12014 |  | -80 | 24 | 1 | 23 | 35.2 | 3.9 |  | 11
2003-01-11 |  | 6A12015 |  | -82 | 24 | -4 | 28 | 32.5 | 5.9 |  | 9 | MATCH? OK
2003-02-02 |  | 6A12016 |  | -60 | 23 | 9 | 14 | 34.9 | 5.1 |  | 11
2003-02-06 |  | 6A12017 |  | -77 | 26 | 1 | 25 | 28.9 | 10.6 |  | 15 | MATCH? OK
2003-02-26 |  | Z02125 |  | -75 | 24 | 2 | 22 | 35.3 | 4.1 |  | 11 | OK
2003-02-27 |  |  |  | -76 | 25 | 0 | 25 | 34.9 | 4.5 |  | 13 | MATCH? OK
2004-03-12 |  | 6A10446 |  | -75 | 21 | -5 | 26 | 33.6 | 5.4 | 403 | 15 | OK. MATCH?
2004-03-17 |  | z07127 |  | -69 | 25 | 12 | 13 | 35.8 | 4.1 | 449 | 11 | OK
2004-03-24 |  | 6A10443 |  | -59 | 24 | 9 | 15 | 35.6 | 4.7 | 424 | 9 | OK. Sensor and calibrator background currents identical in header information although only possible to enter 1 piece of information in header file
2004-03-31 |  | 6A10444 |  | -65 | 26 | 6 | 20 | 40 | 4.4 | 373 | 8 | OK. Sensor and calibrator background currents identical in header information
2004-04-07 |  | 6A10445 |  | -64 | 23 | 2 | 21 | 35.5 | 4.4 | 431 | 8 | OK
2004-04-14 |  |  |  | -65 | 25 | 9 | 16 | 36.5 | 4 | 328 | 8 | OK
2004-04-21 |  | 6A10447 |  | -58 | 26 | 10 | 16 | 33.9 | 6.2 | 389 | 8 | OK
2004-04-28 |  | 6A12043 |  | -61 | 27 | 9 | 18 | 34 | 6 | 391 | 8 | OK
2004-05-05 |  | 6A12054 |  | -55 | 23 | 2 | 21 | 34.9 | 5.9 | 328 | 8 | Ozone trails off too zero above 30.0kM. Needs truncating at NILU
2004-05-14 |  | 6A16571 |  | -59 | 26 | 12 | 14 | 35.4 | 5.5 | 381 | 8 | OK. Background currents appear to be reversed in header
2004-05-19 |  | 6a16572 |  | -54 | 23 | 6 | 17 | 34.5 | 6.3 | 395 | 8 | OK
2004-05-26 |  | 6A16573 |  | -52 | 25 | 9 | 16 | 33.9 | 7 | 403 | 8 | OK. Possible glitch at 33kM. Order of background currents appears to be reversed in header
2004-06-04 |  | 6A16574 |  | -52 | 25 | 9 | 16 | 33.4 | 7.6 | 398 | 8 | OK.
2004-06-09 |  | 6A16575 |  | -60 | 27 | 13 | 14 | 34.2 | 6.8 | 346 | 8 | OK. DVM value not entered. It was 0.014. Software entered value in correct place
2004-06-16 |  | 6A16576 |  | -51 | 26 | 11 | 15 | 34.5 | 6.7 | 354 | 8 | OK. Background currents reversed
2004-06-23 |  | 6A16577 |  | -56 | 26 | 14 | 12 | 33 | 8.4 | 357 | 8 | OK
2004-06-30 |  | 6A16578 |  | -49 | 27 | 13 | 14 | 24.6 | 6.8 | 353 | 8 | OK
2004-07-07 |  | 6A16579 |  | -49 | 28 | 13 | 15 | 36.1 | 5.5 | 375 | 8 | OK
2004-07-14 |  | 6A16580 |  | -51 | 44 | 14 | 30 | 35.1 | 6.3 | 288 | 8 | Box temp v.high. Ozone tails off to near zero, trucate at 31.5kM. Low total ozone. TOMS 318DU
2004-07-21 |  | 6A16581 |  | -55 | 37 | 19 | 18 | 35.2 | 6.2 | 348 | 8 | Box temp high with secondary peak again, v. unusual. Total ozone looks OK.
2004-07-30 |  | 6A16795 |  | -55 | 30 | 16 | 14 | 35.1 | 6.3 | 320 | 8 | Box temps still warm at end of flight. Warm day though
2004-08-04 |  | 6A16796 |  | -57 | 34 | 17 | 17 | 35 | 6.3 | 300 | 8 | OK
2004-08-11 |  | 6A16797 |  | -54 | 30 | 13 | 17 | 36.5 | 5 | 306 | 7 | OK
2004-08-18 |  | 6A16798 |  | -57 | 29 | 13 | 16 | 34.9 | 6.2 | 303 | 7 | OK
2004-08-25 |  | 6A16799 |  | -55 | 26 | 12 | 14 | 32 | 9.4 | 347 | 7 | OK
2004-09-01 |  | 6A16800 |  | -54 | 30 | 15 | 15 | 35 | 5.8 | 303 | 7 | OK
2004-09-08 |  | 6A16801 |  | -68 | 30 | 15 | 15 | 35.5 | 5.3 | 280 | 7 | OK
2004-09-15 |  | 6A16802 |  | -55 | 27 | 16 | 11 | 35.6 | 5.1 | 327 | 7 | OK
2004-09-22 |  |  |  | -58 | 41 | 18 | 23 | 34.1 |  |  | 8 | Fail. Cell stopped working on the surface, was launched and partly worked higher up > Also box temp increased greatly during the flight.
2004-09-24 |  | 6A16804 |  | -59 | 23 | 10 | 13 | 34.5 | 5.8 | 305 | 7 | OK
2004-09-29 |  | 6a16805 |  | -63 | 28 | 15 | 13 | 35.4 | 4.9 | 248.3 | 9 | OK
2004-10-06 |  | 6A16806 |  | -59 | 26 | 13 | 13 | 36.6 | 4.1 | 332.6 | 7 | OK
2004-10-13 |  | 6A16807 |  | -64 | 27 | 9 | 18 | 36.4 | 4.1 | 257 | 8 | OK
2004-10-20 |  | 6A16808 |  | -67 | 27 | 13 | 14 | 36.3 | 3.8 | 244 | 8 | Odd looking profile, box temp erratic &
Dob-sonde 32.8% which is way off. Flight not sent onto GTS, repeat Friday
2004-10-22 |  | 6A16809 |  | -65 | 27 | 9 | 18 | 36 | 4.1 | 284.8 | 8 | OK
2004-10-27 |  | 6A16810 |  | -67 | 27 | 9 | 18 | 37.8 | 2.9 | 292.5 | 8 | OK
2004-11-04 |  | 6A16811 |  | -72 | 30 | 16 | 14 | 35.8 | 3.7 | 279.8 | 11 | OK
2004-11-10 |  | 6A16812 |  | -70 | 27 | 11 | 16 | 34.8 | 4.6 | 302.3 | 11 | OK
2004-11-17 |  | 6A16813 |  | -75 | 25 | 4 | 21 | 33.3 | 5.2 | 303.2 | 11 | OK
2004-11-24 |  | 6A16814 |  | -82 | 28 | 13 | 15 | 28.8 | 10.8 | 227.4 | 11 | OK
2004-12-01 |  | 6A17343 |  | -72 | 26 | 7 | 19 | 35.4 | 4 | 309.6 | 11 | Ozone went to zero at 34kM so truncated to 33.8 at HQ and amended at NILU
2004-12-08 |  | 6A17344 |  | -67 | 34 | 13 | 21 | 36 | 4 | 324.2 | 11 | OK
2004-12-16 |  | 6a17345 |  | -83 | 29 | 11 | 18 | 34.3 | 4.4 |  | 11 | OK
2004-12-22 |  | 6a17346 |  | -84 | 27 | 8 | 19 | 34.6 | 4 | 295.3 | 11 | OK
2004-12-29 |  | 6A17347 |  | -77 | 27 | 15 | 12 | 23.3 | 28.5 |  | 11 | Early burst
2004-12-31 |  | 6A17348 |  | -79 | 28 | 12 | 16 | 33.3 | 5.1 | 260.7 | 11 | OK
2005-01-03 |  | Z09476 |  | -74 | 25 | 10 | 15 | 17.6 | 71 |  | 17 | MATCH Early burst
2005-01-05 |  | Z09477 |  | -80 | 25 | 4 | 21 | 20.7 | 39.8 |  | 11 | MATCH Early burst
2005-01-07 |  | 6A17349 |  | -81 | 29 | 13 | 16 | 35.4 | 3.4 | 324.9 | 11 | OK. Repeat flight
2005-01-13 |  | 6A17350 |  | -77 | 26 | 9 | 17 | 32.3 | 6 | 310.7 | 11 | OK
2005-01-18 |  | Z09478 |  | -63 | 24 | -1 | 25 | 40 | 5.2 | 477 | 14 | MATCH O3 far too high in computed total but graph looks OK. MATCH. DVM background I going into both columns in header.TOMS 390 DU, Dob 370, sonde 470DU
2005-01-26 |  | 6A17351 |  | -79 | 28 | 8 | 20 | 34.7 | 4.2 | 263.9 | 11 | OK
2005-02-02 |  | 6A17583 |  | -83 | 29 | 5 | 24 | 34.5 | 4.2 | 229.9 | 11 | OK although 19.7% diff between flight ozone & Dobson ozone. Very low Dobson total
2005-02-08 |  | Z09479 |  | -74 | 24 | -3 | 27 | 35 | 4 | 317.4 | 11 | OK. MATCH. 1/2% solution would be better for ENSCI pumps
2005-02-10 |  | Z09480 |  | -72 | 29 | 9 | 20 | 34.5 | 4.5 | 323.1 | 11 | OK
2005-02-13 | [11 empty] | unable to fly, see email
2005-02-16 |  | 6A17584 |  | -86 | 25 | 6 | 19 | 33 | 5.3 | 269.2
2005-02-19 |  | Z09481 |  | -80 | 28 | 12 | 16 | 32.8 | 5.5 | 412 | 11 | MATCH. Total ozone from flight 400DU but 325 from TOMS. Looks like buffer overrun mid flight
2005-02-20 |  | Z09482 |  | -71 | 24 | 3 | 21 | 17.5 | 72.5 |  | 17 | MATCH. Early burst
2005-02-23 |  | 6A17587 |  | -80 | 26 | 11 | 15 | 34.5 | 4.6 | 306.7 | 11 | OK
2005-03-01 |  | Z09483 |  | -77 | 24 | 2 | 22 | 35.7 | 3.9 | 371.5 | 11 | MATCH. Some missing data on box temp and ozone partial pressure
2005-03-02 |  | 6A17588 |  | -78 | 26 | 20 | 6 | 33 | 5.3 | 216 |  | MATCH. Some missing data on box temp and ozone PP. All data missing >16kM.
all interfaces put to one side
2005-03-06 |  | Z09484 |  | -81 | 26 | 3 | 23 | 33.4 | 5.7 | 286.9 | 11 | MATCH. New batch of interfaces, flight OK
2005-03-09 |  | Z09485 |  | -75 | 25 | -5 | 30 | 34.3 | 5.1 | 322.6 | 17 | MATCH
2005-03-14 |  | Z09486 |  | -72 | 24 | 0 | 24 | 34.4 | 5.3 | 351.8 | 17 | MATCH. Box temps have unusual profile higher up, rising wher I would expect falls?
2005-03-16 |  | 6A17589 |  | -72 | 31 | 12 | 19 | 33.4 | 6.2 | 450.1 | 11 | Big difference between flight ozone total and Dobson. Data not sent to THORN
2005-03-23 |  | 6A17590 |  | -64 | 34 | 14 | 20 | 35.2 | 4.8 | 367.4 | 11
2005-03-30 |  | 6A17591 |  | -60 | 34 | 5.7 | 28.3 | 34.4 | 5.7 | 410.9 | 11 | Box temp profile odd. Background current looks like DVM not system
2005-04-06 |  | 6A17592 |  | -61 | 27 | 11 |  | 33.6 | 6.5 | 384 | 11 | OK
2005-04-13 |  | 6A17593 |  | -56 | 25 | 12 | 13 | 35.1 | 5.5 | 414.1 | 11 | OK
2005-04-20 |  | Z09487 |  | -61 | 38 | 11 | 27 | 32.8 | 7.6 | 451.3 | 11 | Ozone total too high, box temp rises a lot during flight and ozone at peak drops to zero (oveflow?). Flight not sent.
2005-04-22 |  | 6A17594 |  | -59 | 35 | 17 | 18 | 34.1 | 6.3 | 402.3 | 11
2005-04-27 |  | 6A17596 |  | -60 | 33 | 17 | 16 | 33.1 | 7.3 | 383 | 12 | OK
RS92 hereafter NOTE Flight ozone totals hereafter do not include residual amount above the burst height
2005-05-04 |  | 6A17597 |  | -55 | 52 | 13 | 39 | 34.1 | 6.4 | 170 |  | Failed flight. Looks like digitising/interface problems
Min P
2005-05-06 |  | A0740039 |  | -53 | 26 | 13 | 13 | 34.1 | 6.4 | 352.2 | 11 | OK
2005-05-11 |  | A0820201 |  | -60 | 29 | 14 | 15 | 32.6 | 8.2 | 368.3 | 11 | OK
2005-05-18 |  | 6A17600 |  | -51 | 25 | 10 | 15 | 33 | 7.8 | 381.3 | 11 | OK
2005-05-25 |  | 6A17601 |  | -52 | 26 | 11 | 15 | 33.9 | 6.9 |  | 11 | OK flight but header scrambled quite a bit. NILU file OK
2005-06-01 |  | 6A17602 |  | -51 | 27 | 11 | 16 | 34 | 6.9 | 333.4 | 11 | OK
2005-06-08 |  | 6A17603 |  | -65 | 27 | 13 | 14 | 33.5 | 7.6 | 293.3 | 11 | OK
2005-06-15 |  | 6A17604 |  | -50 | 26 | 10 | 16 | 33.9 | 7.4 | 324.9 | 11 | OK. Background currrent first reported as 0.7. amended to 0.07
2005-06-22 |  |  |  | -59 | 27 | 10 | 17 | 32.9 | 8.5 |  | 11 | OK. But flight file scrambled.NILU file OK
2005-06-29 |  | 6A17607 |  | -55 | 27 | 10 | 17 | 34.4 | 6.9 | 275.5 | 11 | OK flight but header scrambled quite a bit.NILU file OK
2005-07-06 |  | 6A18398 |  | -56 | 28 | 16 | 12 | 34.4 | 7 | 290.8 | 11 | OK. Flight header scrambled but later rectified bfore sending
2005-07-13 |  | 6A18400 |  | -63 | 28 | 10 | 18 | 35.2 | 6.2 | 285.4 | 11 | OK
2005-07-20 |  | 6A18422 |  | -55 | 27 | 14 | 13 | 32.5 | 9.2 | 299.6 | 11 | OK
2005-07-27 |  | 6A18403 |  | -48 | 27 | 8 | 19 | 33.3 | 8.2 | 306.6 | 11 | OK
2005-08-03 |  | 6A17585 |  | -48 | 26 | 2 | 24 | 35.4 | 6 | 324.4 | 11 | OK
2005-08-10 |  | 6A17586 |  | -56 | 28 | 11 | 17 | 33.8 | 7.4 | 270.1 | 11 | OK
2005-08-17 |  | 6A17606 |  | -58 | 26 | 9 | 17 | 34.7 | 6.5 | 249.4 | 11 | OK
2005-08-24 |  | 6A18399 |  | -49 | 30 | 15 | 15 | 32.9 | 8.2 | 300.2 | 11 | OK
2005-08-31 |  | 6A18401 |  | -59 | 29 | 8 | 21 | 25.3 | 25.2 |  | 11 | Signal fade and early burst
2005-09-07 |  | 6A18402 |  | -56 | 28 | 10 | 18 | 35 | 5.8 | 278.7 | 11 | OK. But background current of day prior to launch, v.high
2005-09-14 |  | 6A18404 |  | -56 | 28 | 12 | 16 | 34.1 | 6.5 | 266.6 | 11 | OK
2005-09-21 |  | 6A18405 |  | -62 | 28 | 10 | 18 | 35.7 | 5 | 272.6
2005-09-28 |  | 6A18406 |  | -55 | 28 | 8 | 20 | 34.8 | 5.8 | 312.2 | 11 | OK
2005-10-05 |  | 6A18407 |  | -64 | 28 | 10 | 18 | 34.9 | 5.2 | 223.5 | 11 | OK. DVM currents estimated as DVM away
2005-10-12 | [11 empty] | flight data did not update prior to launch see email
2005-10-13 |  | 6A18408 |  | -59 | 27 | 9 | 18 | 35.1 | 5.2 | 294.6 | 11 | OK. DVM currents estimated as DVM away
2005-10-19 |  | 6A18409 |  | -67 | 28 | 7 | 21 | 35.7 | 4.3 | 226.6 | 11 | OK. DVM currents estimated as DVM away
2005-10-26 |  | 6A18410 |  | -73 | 26 | 7 | 19 | 36.5 | 3.4 | 257.2 | 11 | OK. DVM currents estimated as DVM away
2005-11-02 |  | 6A18411 |  | -70 | 26 | 8 | 18 | 35.2 | 4.3 | 276.8 | 11 | OK. DVM back again
2005-11-09 |  | 6A18412 |  | -76 | 25 | 3 | 22 | 35.3 | 4 | 291.2 | 11 | OK
2005-11-16 |  | 6A18413 |  | -66 | 22 | -2 | 24 | 33.8 | 5.6 | 256.2 | 11 | OK
2005-11-23 |  | 6A18414 |  | -74 | 39 | 18 | 21 | 35.1 | 4.2 | 279.7 | 11 | OK
2005-11-30 |  | 6A18415 |  | -76 | 23 | 3 | 20 | 30.3 | 8.2 | 233.4 | 11 | OK
2005-12-07 |  | 6A18416 |  | -77 | 25 | 5 | 20 | 35.6 | 3.8 | 287.4 | 11 | OK
2005-12-14 |  | 6A18417 |  | -81 | 26 | 5 | 21 | 33.5 | 5 | 218.7 | 11 | OK
2005-12-21 |  | 6A18418 |  | -73 | 26 | -2 | 28 | 32.7 | 6.2 | 310.9 | 11 | OK
2005-12-28 |  | 6A18419 |  | -82 | 26 | 4 | 22 | 33.6 | 4.7 | 293.2 | 11 | OK
2006-01-04 |  | 6A18420 |  | -83 | 24 | -2 | 26 | 34.8 | 4 | 240.9 | 11 | OK
2006-01-11 |  | 6A18421 |  | -83 | 26 | 9 | 17 | 34.3 | 4.3 | 364.3 | 11 | OK
2006-01-18 |  | 6A19312 |  | -85 | 25 | 4 | 21 | 34.4 | 4.2 | 222.7 | 11 | OK
2006-01-25 |  | 6A19313 |  | -78 | 24 | 7 | 17 | 34.7 | 4.6 | 248.2 | 11 | OK
2006-02-01 |  | 6A19413 |  | -65 | 26 | 11 | 15 | 34.5 | 5.3 | 388.6
2006-02-08 |  | 6A19315 |  | -62 | 33 | 17 | 16 | 33.7 | 5.8 | 354.5 | 11 | OK. Box temp falls to trop then rises for awhile then falls again. Could be real.
2006-02-15 |  | 6A19316 |  | -63 | 25 | 16 | 9 | 33.6 | 5.8 | 375.8 | 11 | OK
2006-02-22 |  | 6A19317 |  | -69 | 24 | 12 | 12 | 32.9 | 6.4 | 304.2 | 11 | OK
2006-03-01 |  | 6A19318 |  | -68 | 26 | 12 | 14 | 32.4 | 6.5 | 436.7 | 11 | OK
2006-03-08 |  | 6A19319 |  | -68 | 25 | 11 | 14 | 34 | 5.2 | 385.6 | 11 | OK
2006-03-15 |  | 6A19320 |  | -69 | 24 | 11 | 13 | 33.5 | 5.6 | 343.6 | 11 | OK
2006-03-22 |  |  |  | -65 | 22 | 4 | 18 | 32.3 | 6.8 | 425.1 | 11 | OK
2006-03-29 |  | 6A19322 |  | -64 | 29 | 14 | 15 | 34.2 | 5.5 | 346.1 | 11 | OK
2006-04-07 | 1 | 6A19324 |  | -57 | 26 | 9 | 17 | 32.3 | 7.4 | 456.8 | 11 | OK
2006-04-12 | 2 | 6A19325 |  | -59 | 27 | 14 | 13 | 33.6 | 6.3 | 358.5 | 11 | OK
2006-04-19 | 3 | 6A19326 |  | -60 | 25 | 8 | 17 | 33.1 | 6.7 | 370.1 | 11 | OK
2006-04-26 | 4 | 6A19327 |  | -59 | 27 | 15 | 12 | 33.2 | 7 | 375.3 | 11 | OK
2006-05-03 | 5 | 6A19328 |  | -56 | 28 | 19 | 9 | 17.2 | 84.5 |  | 11 | At 17kM ozone packed in but other parameters kept going. These are the problems we used to get with RS80!
2006-05-05 | 6 | 6A19329 |  | -59 | 26 | 17 | 9 | 33.8 | 6.9 | 336 | 11 | OK
2006-05-10 | 7 | 6A19330 | A22538 | -57 | 32 | 16 | 16 | 33.3 | 7.2 | 334.2 | 11 | OK
2006-05-17 | 8 | 6A19331 | A22536 | -54 | 28 | 19 | 9 | 33.5 | 7.2 | 343.4 | 11 | OK
2006-05-24 | 9 | 6A19332 | A22412 | -50 | 26 | 13 | 13 | 33.6 | 7.3 | 409.4 | 11 | OK | pump pressure too low but flight OK. Should have been rejected
2006-05-31 | 10 | 6A19333 | A23225 | -61 | 27 | 15 | 12 | 32.8 | 8.3 | 327.8 | 11 | OK
2006-06-07 | 11 | 6A19334 | A22537 | -59 | 30 | 14 | 16 | 33.3 | 7.8 | 289.6 | 11 | OK
2006-06-14 | 12 | 6A19335 | A23231 | -61 | 27 | 13 | 14 | 32.7 | 8.6 | 294.1 | 11 | OK
2006-06-21 | 13 | 6A19336 | B08215024 | -48 | 28 | 15 | 13 | 35 | 6.5 | 367.4 | 11 | Background current high and big diff from previous day. Flight locked up 4 times during flight during editing. Vaisala case No 123960
2006-06-28 | 14 | 6A19691 | B11315035 | -56 | 30 | 16 | 14 | 29.4 | 14.2 | 275.4 | 11 | Fail. Big diff in ozone values. Ascent data locked up as soon as editing started |  | possible case 124067 or 124838
2006-07-06 | 15 | 6A19692 | B08215043 | -54 | 29 | 14 | 15 | 34.3 | 7.1 | 286.2 | 7 | OK using groundstation No 2. Previous 2 flights were groundstation No1.
2006-07-12 | 16 | 6A19693 | B08215012 | -51 | 28 | 8 | 20 | 32.5 | 9.3 | 281.7 | 11 | OK but O3 trace looks unusual.
2006-07-19 | 17 | 6A19694 | B11315017 | -60 | 28 | 9 | 19 | 34.1 | 7.3 | 282.5 | 11 | OK
2006-07-26 | 18 | 6A19695 | B11315024 | -56 | 28 | 15 | 13 | 33.1 | 8.4 | 277.4 | 11
2006-08-02 | 19 | 6A19696 | B10415015 |  | 27 | [6 empty] | All O3sonde data failed at 3kM, cause unknown
2006-08-04 | 20 | 6A19697 | B08215031 | -57 | 29 | 14 | 15 | 34.3 | 7.1 | 275.4 | 11 | OK
2006-08-11 | 21 | 6A19699 | B10415014 | -50 | 26 | 14 | 12 | 31.1 | 11.1 | 283.2 | 11 | OK
2006-08-16 | 22 | 6A19700 | B11315042 | -51 | 27 | 10 | 17 | 32.8 | 8.6 | 297.8 | 11 | OK
2006-08-23 | 23 | 6A19701 | B11315022 | -56 | 30 | 7 | 23 | 33.7 | 7.4 | 285.1 | 11 | OK
2006-08-30 | 24 |  | B11315045 | [7 empty] | 11 | Fail.
2006-09-01 | 25 | 6A19703 | B10415042 | -52 | 31 | 3 | 28 | 34.1 | 6.8 | 283.3 | 11 | O3, box temp missing a few secs into flight, then wind. Better data later on.Vaisala inc No 124898
2006-09-06 | 26 | 6A19704 | B11315026 | [7 empty] | 11 | Fail. Loss of data just after launch, either O3 and box temps or winds or both and then complete loss of signal
2006-09-13 | 27 | 6A19705 | B10415033 | -62 | 28 | 11 | 17 | 26.9 | 19.3 | 209.7 | 11 | OK. Early burst but just OK.
2006-09-20 | 28 | 6A19706 | B10415021 | -62 | 26 | 14 | 12 | 27.7 | 16.9 | 215 | 11 | OK. Burst a little early
2006-09-27 | 29 | 6A19707 | B11315013 | -62 | 27 | 14 | 13 | 30.1 | 11.2 | 223.9 | 11 | OK
2006-10-04 | 30 | 6A19708 | B11315031 | -60 | 26 | 16 | 10 | 33 | 7 | 276 | 11 | OK
2006-10-11 | 31 | 6A19709 | B10410522 | -62 | 27 | 11 | 16 | 34.1 | 6 | 270.6 | 11 | OK
2006-10-18 | 32 | 6A19710 | B11315037 | -60 | 25 | 13 | 12 | 21 | 46 | 144.8 | 11 | Fail. Data missing near end of flight. Data ended too low down, reason unknown
2006-10-20 | 33 | 6A19711 | B11315032 | -66 | 26 | 13 | 13 | 23.3 | 30.4 | 184.4 | 11 | OK.
2006-10-25 | 34 | 6A19713 | B11315018 | -66 | 24 | 6 | 18 | 34 | 5.3 | 245.7 | 11 | OK. Glitches caused by interpolated temp data above 30.3kM so truncated at 30kM. Some suspicious data aroung 20kM, could be genuine.
2006-11-03 | 35 | 6A19715 | B10415018 | -75 | 24 | 6 | 18 | 32.6 | 6.2 | 216.5 | 9 | OK
2006-11-08 | 36 | 6A20222 | B11315034 | -64 | 24 | 4 | 20 | 32.1 | 7.4 | 340.7 | 11 | OK
2006-11-15 | 37 | 6A20223 | B11315038 | -62 | 24 | 3 | 21 | 32.7 | 6.8 | 302.8 | 11 | OK
2006-11-22 | 38 | 6A20224 | B11215041 | -71 | 25 | -1 | 26 | 32.7 | 6.1 | 232.8 | 11 | OK
2006-11-29 | 39 |  | B11215035 | -72 | 25 | 2 | 23 | 32.8 | 6.2 |  | 11 | Fail, near gale launch and fluid pumped out as ozonesonde upside down just after launch
2006-12-05 | 40 | 6A20228 | B11115048 | -72 | 26 | 1 | 25 | 31.6 | 7.1 | 341.2 | 8 | OK. 3.52 version software version now includes O3 above residual
2006-12-13 | 41 | 6A20229 | B11215042 | -76 | 24 | 0 | 24 | 29.5 | 9.8 | 256.4 | 11 | OK
2006-12-20 | 42 | 6A20230 | B11315033 | -88 | 25 | 3 | 22 | 32.1 | 5.9 | 239.9 | 11 | OK. Very cold stratosphere
2006-12-27 | 43 | 6A20231 | B10415011 | -85 | 25 | 5 | 20 | 30.1 | 7.9 | 252 | 11 | OK
2007-01-03 | 44 | 6A20232 | B10415023 | -79 | 26 | 7 | 19 | 29.3 | 10.7 | 308.2 | 11 | OK
2007-01-10 | 45 | 6A20233 | B10415017 | -68 | 22 | -2 | 24 | 31.7 | 7.2 | 448.1 | 11 | OK
2007-01-17 | 46 | 6A20234 | B10415013 | -70 | 23 | 1 | 22 | 32.5 | 6.3 | 413.3 | 11 | OK
2007-01-21 | 47 | 6A20235 | B10415012 | -80 | 23 | 7 | 16 | 30.4 | 7.3 | 362.9 | 9 | OK. 1st Match flight this winter
2007-01-21 | 48 | 6A20236 | B10415024 | -77 | 23 | 2 | 21 | 21 | 36.9 | 333 | 15 | MATCH. Early burst, cold statosphere and launching into dark so early bursts tend to happen.
2007-01-24 | 49 | 6A20237 | B10415045 | -82 | 24 | 7 | 17 | 31.4 | 6.5 | 281.6 | 11 | OK. Match flight
2007-01-31 | 50 | 6A20238 | B11215043 | -77 | 25 | 0 | 25 | 32.4 | 6.3 | 311 | 11 | OK
2007-02-07 | 51 | 6A20239 | B11215047 | -78 | 28 | 1 | 27 | 32.3 | 6 | 355.1 | 11 | OK
2007-02-14 | 52 | 6A20240 | B11215044 | -60 | 25 | 4 | 21 | 35.4 | 6 | 472.4 | 11 | OK
2007-02-16 | 53 | 6A20241 | C02414035 | -66 | 25 | 2 | 23 | 32.6 | 8.1 | 499.8 | 9 | Match. Some data missing between 1.0 and 1.5kM for box temp, ozone and winds.
2007-02-21 | 54 | 6A20242 | B11215048 | -68 | 23 | 1 | 22 | 34 | 5.1 | 377.9 | 11 | OK
2007-02-23 | 55 | 6A20243 | C02314024 | -81 | 22 | 1 | 21 | 32.3 | 6.7 | 317.4 | 11 | Match.OK
2007-02-24 | 56 | 6A19044 | C02314036 | -82 | 24 | 5 | 19 | 32.1 | 5.8 | 257.2 | 11 | Match. OK
2007-02-26 | 57 |  | C02414047 | -76 | 21 | -5 | 26 | 30.8 | 7.5 | 365.3 | 11 | Match. OK
2007-03-07 | 58 | 6A19045 | B11115047 | -63 | 27 | 7 | 20 | 33.4 | 6.3 | 384.8 | 11 | OK
2007-03-12 | 59 | 6A19043 | C02414013 | -62 | 27 | 9 | 18 | 33.2 | 6.3 | 431.6 | 17 | MATCH. OK
2007-03-19 | 60 | 6A20245 | C02314041 | -59 | 22 | 1 | 21 | 32.8 | 6.7 | 440.1 | 17 | MATCH. OK
2007-03-28 | 61 | 6A20246 | B11215045 | -58 | 25 | 2 | 23 | 33.3 | 6.7 | 390.9 | 11 | OK
2007-04-04 | 62 | 6A19040 | B11215027 | -70 | 23 | 0 | 23 | 31.9 | 7.7 | 278.2 | 11 | OK
2007-04-11 | 63 | 6A19041 | B11215026 | -70 | 29 | 3 | 26 | 32.9 | 6.6 | 297.6 | 12 | OK
2007-04-18 | 64 | 6A19046 | B11315012 | -60 | 26 | 17 | 9 | 33.4 | 6.7 | 344.8 | 11 | OK
2007-04-25 | 65 | 6A19047 | B11215034 | -59 | 27 | 14 | 13 | 33 | 7.4 | 336.7 | 11 | OK
2007-05-02 | 66 | 6A19048 | B44414032 | -61 | 27 | 12 | 15 | 33.5 | 7.2 | 351.1 | 11 | OK
2007-05-09 | 67 | 6A19049 | B42114044 | -56 | 28 | 7 | 21 | 32.2 | 8.5 | 338.5 | 11 | Large variation betwen Dobson and sonde. O3 values drop off to zero at approx 35kM so data truncated at 32kM.
2007-05-16 | 68 | 6A19042 | B41114047 | -53 | 25 | 8 | 17 | 34 | 6.7 | 375.8 | 11 | OK
2007-05-23 | 69 | 6A20425 | B44414037 | -54 | 26 | 19 | 7 | 32.9 | 8.1 | 349.1 | 11 | OK. Box temps don't drop much during flight
2007-05-30 | 70 | 6A20426 | B42114047 | -56 | 32 | 26 | 6 | 23.9 | 31.3 | 284.4 | 11 | Early burst, strange box temp profile
2007-06-06 | 71 | 6A20428 | B44214032 | -55 | 38 | 17 | 21 | 34.1 | 7.1 | 323.4 | 11 | OK
2007-06-13 | 72 | 6A20429 | B44414033 | -50 | 33 | 16 | 17 | 35 | 6.3 | 397.1 | 11 | OK
2007-06-19 | 73 |  | B44414034 | -57 | 28 | 13 | 15 | 35.1 | 6.2 | 360.6 | 11 | OK
2007-06-26 | 74 | 6A20431 | B44414043 | -49 | 28 | 16 | 12 | 35 | 6.4 | 362.6 | 11 | OK
2007-07-04 | 75 | 6A20436 | B422114036 | -49 | 27 | 13 | 14 | 33.9 | 7.4 | 361.9 | 11 | Early burst
2007-07-06 | 76 | 6A20433 | B44414038 | -55 | 28 | 19 | 9 | 31.4 | 10.7 | 334.4 | 11 | OK
2007-07-11 | 77 | 6A20434 | B44414042 | -53 | 27 | 13 | 14 | 35.6 | 6 | 352 | 11 | OK
2007-07-18 | 78 | [9 empty] | 11 | Failed at launch
2007-07-20 | 79 | 6A20436 | B42214047 | -58 | 26 | 17 | 9 | 34.7 | 6.7 | 324.6 | 11 | OK
2007-07-25 | 80 | 6A20437 | B41114022 | -56 | 25 | 14 | 11 | 28.8 | 15.5 | 338.3 | 11 | OK
2007-08-01 | 81 | 6A20438 | B422114036 | -50 | 27 | 13 | 14 | 33.9 | 7.4 | 361.9 | 11 | OK
2007-08-08 | 82 | 6A20439 | B42114027 |  | 28 | 16 | 12 | 17.4 | 86.6 |  |  | OK at launch but ozone and temp falure 1t 80 mB
2007-08-10 | 83 | 6A20440 | B41114043 | -57 | 29 | 14 | 15 | 34 | 7.2 | 312.6 | 11 | OK
2007-08-15 | 84 | 6A20441 | B41214038 | -49 | 26 | 7 | 19 | 33.7 | 7.5 | 326.2 | 11 | OK
2007-08-22 | 85 | 6A20442 | B41214033 | -64 | 26 | 5 | 21 | 27.3 | 19 | 264.9 | 11 | OK. Early burst than hoped for but just OK. 17hPa would be better
2007-08-29 | 86 | 6A20443 | B41114027 | -59 | 33 | 18 | 15 | 33.4 | 7.5 | 294.1 | 11 | OK, strange hump in box temp as seen before
2007-09-05 | 87 | 6A20444 | B41214011 | -60 | 28 | 10 | 18 | 34.6 | 6.3 | 261.3 | 11 | OK probably. Unusual amount of tropospheric structure
2007-09-12 | 88 | 6A20445 | B42114041 | -62 | 25 | 13 | 12 | 34 | 6.7 | 281 | 11 | OK
2007-09-19 | 89 | 6A20446 | B42114037 | -55 | 28 | 11 | 17 | 33.6 | 6.8 | 316.6 | 11 | OK
2007-09-25 | 90 | 6A20447 | C21114014 | -56 | 26 | 12 | 14 | 33.1 | 7.3 | 327.1 | 11 | OK
2007-10-03 | 91 | 6A20449 | C24415014 | -59 | 26 | 10 | 16 | 32.9 | 7.2 | 262.8 | 11 | OK
2007-10-10 | 92 | 6A19050 | C21114017 | -68 | 36 | 15 | 21 | 34.7 | 5.2 |  |  | Fail, missing ozone and box temp 16 to 18kM. Occured at peak of box temp, which increased to 36 C
2007-10-12 | 93 | 6A19051 | C22415011 | -69 | 27 | 14 | 13 | 33 | 6.6 | 232.7 | 11 | OK
2007-10-17 | 94 | [9 empty] | 11 | Fail, intermittent missing ozone and box temp thru flight.
2007-10-19 | 95 | 6A21171 | C24314047 | -70 | 25 | 7 | 18 | 33 | 6.4 | 234.8 | 11 | OK
2007-10-24 | 96 | 6A21172 | C24114048 | -72 | 34 | 5 | 29 | 34.9 | 4.9 | 222.5 | 11 | OK
2007-10-31 | 97 | 6A21173 | C24114034 | -64 | 26 | -1.1 | 27.1 | 33.9 | 5.8 | 252
2007-11-07 | 98 | 6A21174 | C24314014 | -80 | 25 | -3 | 28 | 34 | 4.9 | 230.6 | 11 | OK. Cold stratosphere since last week
2007-11-14 | 99 | 6A21174 | C21114015 | -72 | 27 | 2 | 25 | 31.2 | 7.8 | 276.6 | 11 | OK
2007-11-21 | 100 | 6A21176 | C24114047 | -74 | 24 | 3 | 21 | 31 | 8 | 277.6 | 11 | OK
2007-11-29 | 101 | 6A21177 | C24314016 | -86 | 25 | 5 | 20 | 32.6 | 5.3 | 259.3 | 11 | Fail. O/P doesn't look right
2007-12-05 | 102 | [10 empty] | Fail. Pressure read in wrong equipment OK
2007-12-07 | 103 | 6A21179 | C24314015 | -75 | 24 | 1 | 23 | 33.1 | 5.7 | 396.6 | 11 | OK
2007-12-12 | 104 | 6A21180 | C21114016 | -74 | 25 | 16 | 9 | 30.1 | 9.1 | 282 | 11 | OK
2007-12-19 | 105 | 6A21181 | C24114037 | -85 | 27 | 11 | 16 | 30.6 | 7.7 | 239.2 | 11 | OK
2007-12-26 | 106 | 6A21182 | C24114041 | -78 | 25 | 0 | 25 | 30.6 | 8.1 | 314 | 11 | OK
2008-01-02 | 107 | 6A21183 | C24114038 | -75 | 23 | 2 | 21 | 32.7 | 5.9 | 283.2 | 11 | OK
2008-01-09 | 108 | 6A21184 | C24314012 | -79 | 23 | -4 | 27 | 31.6 | 6.6 | 349.7 | 11 | OK. However box temp-4 at end. This is close to solution freezing temp
2008-01-15 | 109 | 6A21185 | C24114035 | -83 | 25 | 12 | 13 | 31.6 | 5.8 | 296 | 11 | Ok
2008-01-21 | 110 | 6A21186 |  | -85 | 24 | -5 | 29 | 19.9 | 49.2 | 294.1 | 17 | MATCH failed to reached required height but used as first sonde so success. No ozone & temp > 20kM but other parameters continue to 25kM. -85 C at burst. Interface failure?
2008-01-25 | 111 | 6A21187 | C24314048 | -81 | 28 | 3 | 25 | 30.6 | 7.9 | 268.9 | 11 | MATCH. Hand warmer used to warm up box in flight. Good effect despite -81 C air temps
2008-01-30 | 112 | 6A21188 | C2316880 | -71 | 30 | -3 | 33 | 32.6 | 6 | 374.3 | 11
2008-02-04 | 113 | 6A21189 | C02314018 | -79 | 26 | 7 | 33 | 23.1 | 27 | 353.1 | 17 | MATCH. Technically a failed flight only reaching 27mB. Early burst flying in the dark
2008-02-13 | 114 | 6A21190 | C24114043 | -66 | 28 | 15 | 13 | 24.5 | 25 | 267.8 | 11 | Failed due to loss of telemetry, progressive loss of data late in flight
2008-02-15 | 115 |  | C24114015 | -73 | 29 | -1 | 30 | 31.8 | 7.1 | 324.4 | 11 | OK
2008-02-20 | 116 | 6A21198 | C24415011 | -84 | 31 | -2 | 33 | 29.3 | 9.1 | 294.5 | 11 | OK. Near centre of Arctic vortex
2008-02-28 | 117 | 6A21192 | C24114036 | -62 | 29 | 12 | 17 | 32.8 | 6.9 | 436.9 | 11 | OK
2008-03-06 | 118 | 6A21193 | C23514046 | -67 | 26 | -3 | 29 | 31.5 | 8.4 | 339.4 | 11 | OK
2008-03-12 | 119 | 6A21194 | C24114028 | -58 | 24 | 2 | 22 | 32 | 8 | 406 | 11 | OK
2008-03-19 | 120 | 6A21199 | C24415043 | -58 | 19 | -2 | 21 | 25.6 | 21.6 | 387 | 11 | Early burst, box temp dropped quickly and stayed near zero later- unusual,danger of freezing
2008-03-26 | 121 | 6A21200 | C24114022 | -57 | 26 | 7 | 19 | 31.6 | 8.5 | 358.8 | 11 | OK
2008-04-02 | 123 | 6A21201 | C24114024 | -58 | 26 | 1 | 25 | 30.4 | 10.5 | 383.5 | 11 | OK
2008-04-09 | 124 | 6A21202 | C24114023 | -60 | 23 | -2 | 25 | 30.7 | 9.7 | 395.8 | 11 | OK
2008-04-16 | 125 | 6A21203 | C24114017 | -67 | 32 | 12 | 20 | 33.4 | 6.7 | 412.2 | 11 | OK. File 1 day late on GTS
2008-04-23 | 126 | 6A21195 | C23514047 | -61 | 31 | 15 | 16 | 33 | 7.4 | 375.4 | 11 | OK. Max box temp higher up. Why this happens is a puzzle
2008-04-30 | 127 | 6A21196 | C24114033 | -56 | 26 | 8 | 12 | 33.5 | 6.7 | 369.4 | 11 | OK. File arrived at DART partially
2008-05-07 | 128 | 6A21197 | C24114032 | -63 | 27 | 2 | 25 | 32.6 | 7.9 | 333 | 11 | OK.Confirmation email now sent when file arrived at DART
2008-05-14 | 129 | 6A21204 | C24114012 | -60 | 26 | -4 | 30 | 31.6 | 9.3 | 346.6 | 11 | OK
2008-05-21 | 130 | 6A21205 | C24114011 | -58 | 25 | 7 | 18 | 32.8 | 8 | 380.1 | 11 | OK
2008-05-28 | 131 | 6A21206 | C24415044 | -65 | 26 | 6 | 20 | 34.5 | 6.4 | 335.5 | 11 | OK
2008-06-04 | 132 | 6A21207 | C24114027 | -60 | 26 | 4 | 22 | 15 | 121.8 |  | 11 | Flight failure. Data for box temp and ozone partial pressure ended at 15kM. Reason unknown
2008-06-06 | 133 | 6A21208 | C02314035 | -61 | 27 | 3 | 24 | 33.4 | 7.7 | 345.7 | 11 | OK
2008-06-11 | 134 | 6A21209 | C22415013 | -51 | 25 | 3 | 22 | 33.4 | 7.7 | 320.7 | 11 | OK
2008-06-18 | 135 | 6A21207 | C24114025 | -48 | 29 | 13 | 16 | 34.2 | 7.1 | 413.8 | 11 | OK
2008-06-26 | 136 | 6A21210 | C24415047 | -49 | 27 | 6 | 21 | 33.8 | 7.6 | 345.2 | 11 | OK
2008-07-02 | 137 | 6A21211 | C24114014 | -51 | 29 | 10 | 19 | 33.5 | 7.9 | 321.2 | 11 | OK
2008-07-09 | 138 | 6A21212 | C22415016 | -49 | 27 | 5 | 22 | 33.9 | 7.5 | 348.2 | 11 | OK
2008-07-17 | 139 | 6A21214 | C21414047 | -47 | 26 | 14 | 12 | 32.9 | 8.6 | 386.6 | 11 | OK
2008-07-23 | 140 | 6A21215 | C24415013 | -56 | 31 | 11 | 20 | 32.6 | 9 | 279.2 | 11 | OK
2008-07-30 | 141 | 6A21216 | C24415045 | -56 | 26 | 6 | 20 | 33.8 | 7.6 | 290.8 | 11 | OK
2008-08-06 | 142 | 6A21218 | C24415046 | -56 | 29 | 10 | 19 | 32.7 | 8.7 | 318.4 | 11 | OK
2008-08-13 | 143 | 6A21219 | D20114021 | -56 | 31 | 5 | 26 | 34 | 7.2 | 357.6 | 11 | OK
2008-08-20 | 144 | 6A23272 | D19414048 | -56 | 29 | 13 | 16 | 32.8 | 8.5 | 309.8 | 11 | OK
2008-08-27 | 145 | 6A22373 | D20114017 | -52 | 30 | 12 | 18 | 33 | 8 | 303.3 | 11 | OK
2008-09-03 | 146 | 6A22374 | D20114023 | -51 | 27 | 13 | 14 | 33.3 | 7.5 | 310.9 | 11 | OK
2008-09-12 | 147 | 6A22377 | D19414046 | -58 | 27 | 10 | 17 | 30.6 | 10.9 | 252.8 | 11 | OK
2008-09-17 | 148 | 6A22378 | D20114018 | -59 | 27 | -3 | 30 | 30.3 | 11.2 | 222.7 | 11 | OK. However big diff in O3 values and v cold solution temp.
2008-09-24 | 149 | 6A2239 | D19414047 | -62 | 45 | 14 | 31 | 33.1 | 7.2 |  | 11 | Fail. Missing data from 20kM to 25kM. High box temp at 45 C. Why so high?
2008-09-26 | 150 |  | D20114022 | -68 | 26 | 10 | 16 | 35.1 | 5.5 | 281 | 11 | OK
2008-10-01 | 151 | 6A22381 | D20114016 | -55 | 25 | 4 | 21 | 31.8 | 8.6 | 315.2 | 11 | OK
2008-10-08 | 152 | 6A21213 | D19514047 | -61 | 29 | 6 | 23 | 33.4 | 6.6 |  | 11 | OK | Stage 3 background current now taken from system not DVM. This is a more accurate well thought out procedure
2008-10-15 | 153 | 6A22375 | D20114011 | -52 | 25 | -1 | 26 | 34.4 | 5.3 | 275.5 | 11 | OK | box temp below zero. Could do with some heating.
2008-10-22 | 154 | 6A22762 | D20114013 | -54 | 26 | 7 | 26 | 31.9 | 8 | 336.1 | 11 | OK
2008-10-29 | 155 | 6A22763 | D19514044 | -73 | 22 | 8 | 14 | 32.8 | 6.2 | 243.8 | 11 | OK
2008-11-05 | 156 | 6A22764 | D20114012 | -71 | 26 | 2 | 24 | 33.3 | 5.9 | 256.1 | 11 | OK
2008-11-12 | 157 | 6A22765 | D20114014 | -76 | 24 | -5 | 29 | 33.4 | 5.2 |  | 11 | Fail. Min strat temp -76, box temp -5 C before freezing which produced 999. Use hand warmers now
2008-11-14 | 158 | 6A22766 | D19514048 | -80 | 28 | 12 | 16 | 31.7 | 6.5 | 218 | 11 | OK. Hand warmer used and much warmer box temp as a result
2008-11-20 | 159 | 6A22767 | D19514042 | -77 | 30 | 14 | 16 | 32.3 | 6.4 | 283.8 | 11 | OK